## Slide 1: Requirements for and Challenges associated with BSL4 laboratories
Dr Greg Smith
Microbiological Security Manager
Australian Animal Health Laboratory
Geelong, Victoria

## Slide 2: How many are needed?
Australia – population of 22.5 million
4x BSL4 Laboratories
1 x National Animal High Containment Lab (AAHL)
3x State Public Health PC4 labs (Brisbane, Sydney and Melbourne)
Expansion of AAHL new PC4 lab 320 m2

## Slide 3: Australian Animal Health Lab
Opened in 1985
26 years old
$200M to build
Replace $650-700
35 hectares
Building 2 Ha
6 Floors
65,000 m2
15,000m2 ‘lab’
Lab
BSL2 = 2600 m2
BSL3 = 2900 m2
BSL4 = 100 m2 (400m2)
Animal Facility
BSL3 = 955 m2
BSL4 = 127m2

## Slide 4: Construction and Maintenance costs
60 F/T Engineering staff
10 Microbiological Security Staff ($1M annually)
$6.8M annual maintenance & running cost
$15M/yr depreciation
$25M engineering upgrade just completed focused on control and monitoring
ESB CMS
1
2
3
4
5
Machine Hall
Admin
CMS
L5 Plant Room
3
5
5
Server Rm North
Server Rm South

## Slide 5: Construction and Maintenance costs
Changing standards will require additional & significant investment
30 autoclaves to be refurbished or replaced ($5M-$15M)
Laboratory has operated continuously since opening
Science mission requires continuous operation during refurbishment
Construction costs while operating $$$$

## Slide 6: Biosecurity
Perimeter fence, box within box, infrared cameras
Dual access controls & Cyberlocks
Critical Infrastructure protection branch
All AAHL staff with security access are ASIO cleared
CWA 15793

## Slide 7: Environmental issues
Originally built to provided diagnostic capacity and vaccine production facilities for FMDV
FMDV has never been introduced to the lab
Local council regulations prevent residents keeping cloven hoofed animals within 5 kilometres.
Staff not permitted to live on farm
7 day exclusion for all staff and visitors

## Slide 8: Training
Structured competency based training
Must first complete all BSL3 training and be signed off as competent to work at BSL3/4
Dedicated training lab
All routine and emergency procedures in training lab
Supervisors sign off BSL4 competency

## Slide 9: Strategies to manage infected individuals
Medical Advisory Committee
  State Chief Health Officer
  State Chief Veterinary Officer
  Local General Practitioner
  Infectious Disease Physician
All incidents referred to MAC
Home quarantine or admission to ID ward

## Slide 10: Community Relations
Dedicated Media Officer
Active engagement of public including schools
Tours for key State and Federal politicians
Facilitate media coverage (60 minutes, Catalyst etc.)
Helps to have a long record >25 yrs of safe operation within the community

## Slide 11: Maximising the investment; reducing the risk
$10M to convert existing facility to specialised BSL3 and BSL4 lab space
Available to scientists across Australia and globally
Government, academic or commercial clients
Existing & proven systems and experienced staff

## Slide 12
Thanks for your attention!